## ELL PST
QUESTIONS | Bidder Name | Bidder Name | Bidder Name
Bidder and Proposal Information
Bidder ID
Proposal ID
Resource ID
Resource Name
Resource Location - City, County or Parish, State
Is the proposal mutually exclusive to another proposal?
If yes, provide the Proposal IDs of the mutually exclusive proposal(s).
MISO or SPP Interconnection Application Queue Number
Proposal Type (PPA or Acquisition)
Guaranteed Substantial Completion Date - Enter the date that the Resource is guaranteed to be online, for solar interconnected to the Louisiana region of MISO South, or for wind interconnected to the SPP or MISO South transmission system, and available for continuous operation and to have satisfied the other requirements for Substantial Completion. This date may be no later than September 30, 2025.
Guaranteed Project Capacity of the Wind or Solar PV Resource
Are the solar panels fixed or tracking?
Are the solar panels bifacial or monofacial?
Provide annual degradation assumption (%) over the life of the Solar PV Resource
How were the hourly generation profiles included in Appendix D Attachment B derived?
PPAs
Provide the start date of the PPA term.
Provide the end date of the PPA term.
PPA Pricing - Please fill out the "Solar or Wind - Only PPA Pricing" tab with the annual PPA Price for each year of the contract term. | COMPLETE SOLAR or WIND-ONLY PPA PRICING TAB | COMPLETE SOLAR or WIND-ONLY PPA PRICING TAB | COMPLETE SOLAR or WIND-ONLY PPA PRICING TAB
PPA Pricing - If submitting an optional BESS with the solar resource, please fill out the "Solar or Wind + BESS PPA Pricing" tab with the annual PPA Price for each year of the contract term. | COMPLETE SOLAR or WIND + BESS PPA PRICING TAB | COMPLETE SOLAR or WIND + BESS PPA PRICING TAB | COMPLETE SOLAR or WIND + BESS PPA PRICING TAB
Please Indicate whether or not the bidder has submitted an application for any property tax abatements, reductions, incentives, or subsidies for the project (Yes/No)
BOT Acquisitions
Acquisition Price - Complete the detailed cost breakdown of the total aquisition price in Appendix D Attachment A. | COMPLETE ATTACHMENT A | COMPLETE ATTACHMENT A | COMPLETE ATTACHMENT A
Please provide for the proposed Project the estimated total fixed O&M expense that will not change based on the Project's energy output as defined in Appendix B-2 (Scope Book) . The total estimate should include the following cost components: module cleaning, vegetation management, operations administration, inverter replacement, system inspection, and monitoring. The O&M estimate should not include property tax or insurance and should be expressed in $/kW-yr for 3year, 5year and 10 year terms.
Guaranteed Investment Tax Credit (ITC) - Provide the guaranteed ITC percentage (30%, 26%, 22%, or 10%) for the Project.
Safe Harbor Year - Please provide the year in which construction of the resource will commence for purposes of ITC accreditation {and the means by which commencement of construction of the resource will occur (physical work test or five percent (5%) spend test).
Please provide the useful life assumption for the Solar resource (years)
Is a Battery Energy Storage System (BESS) included as an option in the proposal? (Yes/No) If yes, please answer questions 28-36. If no, proceed to question 41.
Confirm that the purchase price for the BESS provided in Attachment A DOES NOT INCLUDE any costs of on-going module augmentation (yes/no)
Confirm that the optional Battery Energy Storage System (BESS) is DC coupled. (Yes/No)
Provide the power rating/capacity of the Battery Energy Storage System (BESS). [MW]
Provide the energy capacity/duration of Battery Energy Storage System (BESS). [MWh]
Provide the annual power rating/capacity degradation assumption (%) over the life of the Battery Energy Storage System (BESS).
Provide the annual energy capacity/duration degradation assumption (%) over the life of the Battery Energy Storage System (BESS).
Consistent with Appendix D - Attachment D (Annual Energy Quantities) for Solar + BESS provide the useful life assumption for the Battery Energy Storage System (BESS). (years)
Consistent with Appendix D- Attachment D (Annual Energy Quantities) for the Solar + BESS and the useful life assumption provided in row 36, provide the number of cycles assumed for the BESS.
For the Battery Energy Storage System (BESS), proivde the estimated fixed O&M expense that will not change based on energy output of the BESS. The fixed O&M expense estimate should include the following cost components: basic maintenance (checking connections, cleaning equipment, replacing electrical components, etc.) and setting and reconfiguring dispatch schedules. The fixed O&M estimate should not include property taxes or insurance costs, or on-going battery module augmentation costs. ($/kW-yr)
Is the BESS capable of being charged 100% by the resource? (Yes/No)
What type of credit support has been elected and included in the price of the bid? (Letter of credit, cash holdback, combination of both)
If a combination of letter of credit and cash holdback is selected, please specify the percentage share for each.
Please Indicate whether or not the bidder has submitted an application for any property tax abatements, reductions, incentives, or subsidies for the project (Yes/No)
Please provide the estimated annual property taxes for the project in the "Property Taxes" tab. | COMPLETE PROPERTY TAXES TAB | COMPLETE PROPERTY TAXES TAB | COMPLETE PROPERTY TAXES TAB
Lease Cost
Annual Lease Cost $ - Please fill out the "Lease Payment" tab with the annual lease payments. | COMPLETE LEASE PAYMENT TAB | COMPLETE LEASE PAYMENT TAB | COMPLETE LEASE PAYMENT TAB
Provide the acreage associated with the annual lease payment provided in the "Lease Payment" tab.
Initial Operating Term - Please provide the start date of the initial operating term of the lease payments for which ELL will be responsible.
Initial Operating Term - Please provide the end date of the initial operating term of the lease payments for which ELL will be responsible.
Extension Option - Provide the term(s) (in years) of any lease extension options (if applicable).

## Solar or Wind- Only PPA Pricing
Solar - Only PPA Pricing
[1] | Indicate whether the PPA pricing is fixed for the entire term or varies from year to year.
[2] | Provide the "all-in" Energy Price, expressed in nominal $/MWh, that is either fixed or defined annually. The "all-in" Energy Price must reflect the amount (including any related fees and expenses) that ELL would pay to Seller for all aspects related to, and all products associated with, the provision, generation, and delivery to ELL of energy, Capacity, capacity-related benefits, Other Electric Products, and Environmental Attributes and Seller’s performance and risks under the PPA, including, without limitation, the allocation of interconnection, deliverability, and transmission related costs to Seller under the RFP and the effects of any applicable tax credit or other subsidy.B98
[3] | Populate Column C of the table to reflect the PPA price for each year of the PPA term, beginning in the PPA start year provided in line 18 of the PST.
Proposal ID
[1] | Fixed or Variable (Annual) Pricing?
[2] | First Year Energy Price [Nominal $/MWh]
| Calendar Year | Solar or Wind - Only PPA Energy Price [Nominal $/MWh]
[3] | 2023
2024
2025
2026
2027
2028
2029
2030
2031
2032
2033
2034
2035
2036
2037
2038
2039
2040
2041
2042
2043
2044

## Solar or Wind+ BESS PPA Pricing
Solar + BESS PPA Pricing
[1] | Indicate whether the PPA pricing is fixed for the entire term, or variable.
[2] | Provide the "all-in" Energy Price, expressed in nominal $/MWh, that is either fixed or defined annually. The "all-in" Energy Price must reflect the amount (including any related fees and expenses) that ELL would pay to Seller for all aspects related to, and all products associated with, the provision, generation, and delivery to ELL of energy, Capacity, capacity-related benefits, Other Electric Products, and Environmental Attributes and Seller’s performance and risks under the PPA, including, without limitation, the allocation of interconnection, deliverability, and transmission related costs to Seller under the RFP and the effects of any applicable tax credit or other subsidy.B98
[3] | Populate Column C of the table to reflect the PPA price for each year of the PPA term, beginning in the PPA start year provided in line 18 of the PST.
Proposal ID
[1] | Fixed or Variable Pricing?
[2] | First Year Energy Price [Nominal $/MWh]
| Calendar Year | Solar or Wind + BESS PPA Energy Price [Nominal $/MWh]
[3] | 2023
2024
2025
2026
2027
2028
2029
2030
2031
2032
2033
2034
2035
2036
2037
2038
2039
2040
2041
2042
2043
2044

## Property Taxes
Property Tax Estimates
[1] | Property Tax Expense: Provide the estimated annual property tax expense for each year of the project's useful life, beginning at COD.
[2] | Property Tax Abatments: If the bidder has submited an application for property tax abatements, reductions, incentives, or subsidies, please provide the estimated annual property tax expense, accounting for any property tax abatements, for each year of the project's useful life, beginning at COD.
Proposal ID
| Estimated Annual Property Tax Expense WITHOUT Tax Abatements [Nominal $] |  | Estimated Annual Property Tax Expense WITH Applicable Property Tax Abatements [Nominal $]
[1] | 2023 | [2] | 2023
| 2024 |  | 2024
| 2025 |  | 2025
| 2026 |  | 2026
| 2027 |  | 2027
| 2028 |  | 2028
| 2029 |  | 2029
| 2030 |  | 2030
| 2031 |  | 2031
| 2032 |  | 2032
| 2033 |  | 2033
| 2034 |  | 2034
| 2035 |  | 2035
| 2036 |  | 2036
| 2037 |  | 2037
| 2038 |  | 2038
| 2039 |  | 2039
| 2040 |  | 2040
| 2041 |  | 2041
| 2042 |  | 2042
| 2043 |  | 2043
| 2044 |  | 2044
| 2045 |  | 2045
| 2046 |  | 2046
| 2047 |  | 2047
| 2048 |  | 2048
| 2049 |  | 2049
| 2050 |  | 2050
| 2051 |  | 2051
| 2052 |  | 2052
| 2053 |  | 2053
| 2054 |  | 2054
| 2055 |  | 2055
| 2056 |  | 2056
| 2057 |  | 2057
| 2058 |  | 2058
| 2059 |  | 2059
| 2060 |  | 2060
| 2061 |  | 2061
| 2062 |  | 2062
| 2063 |  | 2063
| 2064 |  | 2064
| 2065 |  | 2065
| 2066 |  | 2066
| 2067 |  | 2067
| 2068 |  | 2068
| 2069 |  | 2069
| 2070 |  | 2070

## Lease Payment
Annual Lease Payment
[1] | Provide the annual lease cost for each year of the intial lease term, beginning in the start year of the initial lease term provided in line 39 of the PST.
[2] | If applicable, provide the annual lease cost for each year of the extension option period, beginning in the first year of the extension period.
[3], [4] | If more than one lease extension option is offered, provide the annual lease cost for each year of the the additional option periods.
Proposal ID
| Intial Operating term | Annual Lease Payment [Nominal $] |  | Optional Lease Extension Term 1 | Annual Lease Payment [Nominal $] |  | Optional Lease Extension Term 2 | Annual Lease Payment [Nominal $] |  | Optional Lease Extension Term 3 | Annual Lease Payment [Nominal $]
[1] | 2023 |  | [2] | 2023 |  | [3] | 2023 |  | [4] | 2023
| 2024 |  |  | 2024 |  |  | 2024 |  |  | 2024
| 2025 |  |  | 2025 |  |  | 2025 |  |  | 2025
| 2026 |  |  | 2026 |  |  | 2026 |  |  | 2026
| 2027 |  |  | 2027 |  |  | 2027 |  |  | 2027
| 2028 |  |  | 2028 |  |  | 2028 |  |  | 2028
| 2029 |  |  | 2029 |  |  | 2029 |  |  | 2029
| 2030 |  |  | 2030 |  |  | 2030 |  |  | 2030
| 2031 |  |  | 2031 |  |  | 2031 |  |  | 2031
| 2032 |  |  | 2032 |  |  | 2032 |  |  | 2032
| 2033 |  |  | 2033 |  |  | 2033 |  |  | 2033
| 2034 |  |  | 2034 |  |  | 2034 |  |  | 2034
| 2035 |  |  | 2035 |  |  | 2035 |  |  | 2035
| 2036 |  |  | 2036 |  |  | 2036 |  |  | 2036
| 2037 |  |  | 2037 |  |  | 2037 |  |  | 2037
| 2038 |  |  | 2038 |  |  | 2038 |  |  | 2038
| 2039 |  |  | 2039 |  |  | 2039 |  |  | 2039
| 2040 |  |  | 2040 |  |  | 2040 |  |  | 2040
| 2041 |  |  | 2041 |  |  | 2041 |  |  | 2041
| 2042 |  |  | 2042 |  |  | 2042 |  |  | 2042
| 2043 |  |  | 2043 |  |  | 2043 |  |  | 2043
| 2044 |  |  | 2044 |  |  | 2044 |  |  | 2044
| 2045 |  |  | 2045 |  |  | 2045 |  |  | 2045
| 2046 |  |  | 2046 |  |  | 2046 |  |  | 2046
| 2047 |  |  | 2047 |  |  | 2047 |  |  | 2047
| 2048 |  |  | 2048 |  |  | 2048 |  |  | 2048
| 2049 |  |  | 2049 |  |  | 2049 |  |  | 2049
| 2050 |  |  | 2050 |  |  | 2050 |  |  | 2050
| 2051 |  |  | 2051 |  |  | 2051 |  |  | 2051
| 2052 |  |  | 2052 |  |  | 2052 |  |  | 2052
| 2053 |  |  | 2053 |  |  | 2053 |  |  | 2053
| 2054 |  |  | 2054 |  |  | 2054 |  |  | 2054
| 2055 |  |  | 2055 |  |  | 2055 |  |  | 2055
| 2056 |  |  | 2056 |  |  | 2056 |  |  | 2056
| 2057 |  |  | 2057 |  |  | 2057 |  |  | 2057
| 2058 |  |  | 2058 |  |  | 2058 |  |  | 2058
| 2059 |  |  | 2059 |  |  | 2059 |  |  | 2059
| 2060 |  |  | 2060 |  |  | 2060 |  |  | 2060
| 2061 |  |  | 2061 |  |  | 2061 |  |  | 2061
| 2062 |  |  | 2062 |  |  | 2062 |  |  | 2062
| 2063 |  |  | 2063 |  |  | 2063 |  |  | 2063
| 2064 |  |  | 2064 |  |  | 2064 |  |  | 2064
| 2065 |  |  | 2065 |  |  | 2065 |  |  | 2065
| 2066 |  |  | 2066 |  |  | 2066 |  |  | 2066
| 2067 |  |  | 2067 |  |  | 2067 |  |  | 2067
| 2068 |  |  | 2068 |  |  | 2068 |  |  | 2068
| 2069 |  |  | 2069 |  |  | 2069 |  |  | 2069
| 2070 |  |  | 2070 |  |  | 2070 |  |  | 2070